Airco koelen/verwarmen instellen

* Sluit alle ramen!

1) Druk op de knop MODE (stel in op de gewenste modus)

2) Druk op de ON/OFF knop om de airco aan te zetten.
3) Druk op de knop TEMP, vervolgens druk je op de knop       
     of      voor de gewenste temperatuur.

4) Druk op FAN SPEED. Elke keer als u op de toets drukt, 
     wijzigt de ventilatorsnelheid. Stel de gewenste 
     ventilatorsnelheid in. De ventilatorsnelheid kan niet 
     worden ingesteld wanneer het apparaat zich in de DRY-
     modus bevindt. 
*  Door op de knop ON/OFF te drukken, kunt u de airco   
    uitzetten.

Set air conditioning cooling/heating

* Close all windows!

1) Press the MODE button (set to the desired mode)
 
2) Press the ON/OFF button to turn on the air conditioner.

3) Press the TEMP button, then press the button     or     for 
     the desired temperature.

4) Press FAN SPEED. Each time you press the button, the fan 
    speed changes. Set the desired fan speed. The fan speed 
    cannot be set when the unit is in DRY mode. 
* By pressing the ON/OFF button, you can turn on the air 
   conditioner turn of.